## EN
Price list 2021 valid from 04.10.2021
Product | Heating capacity range | Product code | Net price | Barcode
AIR WATER HEATERS MADE IN EPP CASING, HC SERIES 230V AC
Air water heaters HC
HC20-3S 21,4kW* | 1,55kW - 28,4kW** | WHHC20-3S-1759 | 289 | 5902860110330
HC30-3S 26,4kW* | 1,80kW - 34,9kW** | WHHC30-3S-1760 | 309 | 5902860110347
HC35-3S 30,3kW* | 2,14kW - 40,1kW** | WHHC35-3S-1761 | 349 | 5902860110354
HC45-3S 42,0kW* | 3,21kW - 55,6kW** | WHHC45-3S-1762 | 369 | 5902860110361
HC50-3S 49,8kW* | 5,00kW - 65,8kW** | WHHC50-3S-2006 | 439 | 5902860112426
HC70-3S 60,6kW* | 5,00kW - 80,1kW** | WHHC70-3S-1764 | 489 | 5902860110385
HC80-3S 69,2kW* | 6,96kW - 91,5kW** | WHHC80-3S-1956 | 499 | 5902860111917
Set HC Mini (air water heater + rotating mounting bracket)
Set HC20-3S 21,4kW* | 1,55kW - 28,4kW** | WHHC20-3S-RH-1947 | 305 | 5902860111825
Set HC30-3S 26,4kW* | 1,80kW - 34,9kW** | WHHC30-3S-RH-1948 | 325 | 5902860111832
Set HC35-3S 30,3kW* | 2,14kW - 40,1kW** | WHHC35-3S-RH-1949 | 365 | 5902860111849
Set HC45-3S 42,0kW* | 3,21kW - 55,6kW** | WHHC45-3S-RH-1950 | 385 | 5902860111856
Set HC50-3S 49,8kW* | 5,00kW - 65,8kW** | WHHC50-3S-RH-1951 | 460 | 5902860111863
Set HC70-3S 60,6kW* | 5,00kW - 80,1kW** | WHHC70-3S-RH-1952 | 510 | 5902860111870
Set HC80-3S 69,2kW* | 6,96kW - 91,5kW** | WHHC80-3S-RH-1957 | 520 | 5902860111924
Set HC Standard (air water heater + rotating mounting bracket + 3-stage speed controller with room thermostat HC3S)
Set HC3S HC20-3S 21,4kW* | 1,55kW - 28,4kW** | WHHC20-3S-HC3S-1805 | 328 | 5902860111351
Set HC3S HC30-3S 26,4kW* | 1,80kW - 34,9kW** | WHHC30-3S-HC3S-1936 | 348 | 5902860111719
Set HC3S HC35-3S 30,3kW* | 2,14kW - 40,1kW** | WHHC35-3S-HC3S-1937 | 388 | 5902860111726
Set HC3S HC45-3S 42,0kW* | 3,21kW - 55,6kW** | WHHC45-3S-HC3S-1938 | 408 | 5902860111733
Set HC3S HC50-3S 49,8kW* | 5,00kW - 65,8kW** | WHHC50-3S-HC3S-1939 | 483 | 5902860111740
Set HC3S HC70-3S 60,6kW* | 5,00kW - 80,1kW** | WHHC70-3S-HC3S-1940 | 533 | 5902860111757
Set HC3S HC80-3S 69,2kW* | 6,96kW - 91,5kW** | WHHC80-3S-HC3S-1958 | 543 | 5902860111931
Set HC Prestige (air water heater + rotating mounting bracket + programmable controller HMI)
Set HMI HC20-3S 21,4kW* | 1,55kW - 28,4kW** | WHHC20-3S-HMI-1941 | 380 | 5902860111764
Set HMI HC30-3S 26,4kW* | 1,80kW - 34,9kW** | WHHC30-3S-HMI-1942 | 400 | 5902860111771
Set HMI HC35-3S 30,3kW* | 2,14kW - 40,1kW** | WHHC35-3S-HMI-1943 | 440 | 5902860111788
Set HMI HC45-3S 42,0kW* | 3,21kW - 55,6kW** | WHHC45-3S-HMI-1944 | 460 | 5902860111795
Set HMI HC50-3S 49,8kW* | 5,00kW - 65,8kW** | WHHC50-3S-HMI-1945 | 535 | 5902860111801
Set HMI HC70-3S 60,6kW* | 5,00kW - 80,1kW** | WHHC70-3S-HMI-1946 | 585 | 5902860111818
Set HMI HC80-3S 69,2kW* | 6,96kW - 91,5kW** | WHHC80-3S-HMI-1959 | 595 | 5902860111948
Air water heaters HC with diffuser 360
HC20-3S + diffuser 360 20,4kW* | 1,46kW - 27,0kW** | WHHC20D360-3S-1767 | 365 | 5902860110415
HC30-3S + diffuser 360 24,9kW* | 1,72kW - 33,1kW** | WHHC30D360-3S-1768 | 385 | 5902860110422
HC35-3S + diffuser 360 28,6kW* | 2,03kW - 37,9kW** | WHHC35D360-3S-1769 | 425 | 5902860110439
HC45-3S + diffuser 360 39,2kW* | 2,97kW - 51,8kW** | WHHC45D360-3S-1770 | 445 | 5902860110446
HC50-3S + diffuser 360 47,3kW* | 4,63kW - 62,5kW** | WHHC50D360-3S-1771 | 540 | 5902860110453
HC70-3S + diffuser 360 56,9kW* | 4,62kW - 75,3kW** | WHHC70D360-3S-1772 | 575 | 5902860110460
HC80-3S + diffuser 360 65,2kW* | 6,45kW - 86,3kW** | WHHC80D360-3S-1960 | 600 | 5902860111955
Air water heaters HC with confusor
HC20-3S + confusor 20,4kW* | 1,46kW - 27,0kW** | WHHC20WC-3S-1773 | 380 | 5902860110477
HC30-3S + confusor 24,9kW* | 1,72kW - 33,1kW** | WHHC30WC-3S-1774 | 400 | 5902860110484
HC35-3S + confusor 28,6kW* | 2,03kW - 37,9kW** | WHHC35WC-3S-1775 | 440 | 5902860110491
HC45-3S + confusor 39,2kW* | 2,97kW - 51,8kW** | WHHC45WC-3S-1776 | 460 | 5902860110507
HC50-3S + confusor 47,3kW* | 4,63kW - 62,5kW** | WHHC50WC-3S-1777 | 555 | 5902860110514
HC70-3S + confusor 56,9kW* | 4,62kW - 75,3kW** | WHHC70WC-3S-1778 | 590 | 5902860110521
HC80-3S + confusor 65,2kW* | 6,45kW - 86,3kW** | WHHC80WC-3S-1961 | 615 | 5902860111962
* heating capacity: water temp. 90/70°C, 0°C room temp., 3rd stage | ** min. heating capacity: water temp. 40/30°C, 20°C room temp., 1st stage// max. heating capacity: water temp. 120/90°C, 0°C room temp., 3rd stage
CONTROLLERS FOR HC SERIES 230V AC
3-step controller with room thermostat HC3S |  | RTHC3S-1779 | 25 | 5902860110538
Programmable controller HMI |  | PCHMI-1797 | 79 | 5902860111276
Fan speed controller HC 1,2A |  | FSHC-1520 | 64 | 5905669815116
Fan speed controller HC 3,0A |  | FS3HC-1521 | 85 | 5905669815123
Fan speed controller HC 5,0A |  | FS5HC-1607 | 169 | 5905669815499
Fan speed controller HC 7,0A |  | FS7HC-1608 | 189 | 5905669815505
Fan speed controller HC 14,0A |  | FS14HC-1610 | 349 | 5905669815529
Manual room thermostat HC |  | RTHC-1523 | 16 | 5905669815574
Two-way valve with actuator HC 3/4" |  | VAHC-1524 | 50 | 5905669815154
Three-way valve with actuator HC 3/4" |  | VAHC3-1998 | 85 | 5902860112334
Regulating and balancing valve HC 3/4 " |  | VARB-2030 | ask for price | 5902860112921 | NEW !
Relay module RM-16A |  | RM16A-1786 | 30 | 5903669087311
MOUNTING ELEMENTS FOR HC SERIES 230V AC
Rotating mounting bracket HC20-45 |  | RHHC2045-1518 | 20 | 5905669815093
Rotating mounting bracket HC50-80, Farmer |  | RHHC5080-2015 | 25 | 5902860112525
Z-type suspension bracket |  | SB-2029 | 2 | 5902860112914 | NEW !
OPTIONAL EQUIPMENT FOR HC SERIES 230V AC
Flexible hoses HC 3/4" (set 2 pcs.) |  | FHHC-1525 | 45 | 5905669815161
Drip tray HC20-45 |  | DTFWHHC2045 | 69 | 5905669815246
Drip tray HC50-80 |  | DTFWHHC5080 | 79 | 5902860112532
AIR WATER HEATERS FARMER 230V AC
Farmer HCF IP54-3S 44,3kW*/** | 4,80kW - 58,5kW*** | WHHCF47-3S-1765 | 579 | 5902860110392
* (heating capacity: 90/70°C water temp., 0°C room temp., 3rd stage) | *** (min. heating capacity: water temp. 40/30°C, 20°C room temp., 1st stage// max. heating capacity: 120/90°C water temp., 0°C room temp., 3rd stage)
Farmer HCF IP66 50,2kW*/** | 7,01kW - 66,2kW*** | WHHCF53-1527 | 789 | 5905669815185
Farmer OpenAir IP66 54,3kW* | 7,5kW - 71,6kW*** | WHHCFO-2042 | 1399 | 5902860113041 | NEW !
*(heating capacity: 90/70°C water temp., 0°C room temp.) ** possibility to order diffuser 360 or confusor to the above models | *** (min. heating capacity: 40/30°C, 20°C room temp.// max. heating capacity: 120/90°C, 0°C room temp.)
CONTROLLERS FOR FARMER HCF SERIES 230V AC
3-step controller with room thermostat HC3S* |  | RTHC3S-1779 | 25 | 5902860110538
Programmable controller HMI* |  | PCHMI-1797 | 79 | 5902860111276
Fan speed controller HC 1,2A |  | FSHC-1520 | 64 | 5905669815116
Fan speed controller HC 3,0A |  | FS3HC-1521 | 85 | 5905669815123
Fan speed controller HC 5,0A |  | FS5HC-1607 | 169 | 5905669815499
Fan speed controller HC 7,0A |  | FS7HC-1608 | 189 | 5905669815505
Fan speed controller HC 14,0A |  | FS14HC-1610 | 349 | 5905669815529
Manual room thermostat HC |  | RTHC-1523 | 16 | 5905669815574
Two-way valve with actuator HC 3/4" |  | VAHC-1524 | 50 | 5905669815154
Three-way valve with actuator HC 3/4" |  | VAHC3-1998 | 85 | 5902860112334
Regulating and balancing valve HC 3/4 " |  | VARB-2030 | ask for price | 5902860112921 | NEW !
Relay module RM-16A |  | RM16A-1786 | 30 | 5903669087311
*compatible only with FARMER HCF IP54
MOUNTING ELEMENTS FOR FARMER HCF SERIES 230V AC
Rotating mounting bracket HC50-80, Farmer |  | RHHC5080-2015 | 25 | 5902860112525
Z-type suspension bracket |  | SB-2029 | 2 | 5902860112914 | NEW !
Rotating mounting bracket Farmer OpenAir |  | RHFO-2044 | 59 | 5902860113065 | NEW !
OPTIONAL EQUIPMENT FOR FARMER HCF SERIES 230V AC
Flexible hoses HC 3/4" (set 2 pcs.) |  | FHHC-1525 | 45 | 5905669815161
Drip tray HC50-80 |  | DTFWHHC5080 | 79 | 5902860112532
Horizontal diffuser Farmer OpenAir |  | HDFO-2045 | 49 | 5902860113072 | NEW !
AIR WATER HEATERS IN EPP CASING HC3P SERIES 400V AC
HC3P20 21,4kW*, ** | 2,36kW - 28,4kW*** | WHHC3P20-1514 | 299 | 5905669815055
HC3P30 26,4kW*, ** | 2,84kW - 34,9kW*** | WHHC3P30-1626 | 329 | 5905669815475
HC3P35 30,3kW*, ** | 3,51kW - 40,1kW*** | WHHC3P35-1515 | 369 | 5905669815062
HC3P45 42,0kW*, ** | 6,02kW - 55,6kW*** | WHHC3P45-1627 | 399 | 5905669815482
HC3P50 44,3kW*, ** | 6,23kW - 58,5kW*** | WHHC3P50-1516 | 469 | 5905669815079
HC3P70 60,6kW*, ** | 8,78kW - 80,1kW*** | WHHC3P70-1517 | 499 | 5905669815086
* heating capacity: 90/70 °C, 0°C room temp., **possibility to order diffuser 360 or confusor to the above models | ***(min. heating capacity: 40/30°C, 20°C room temp.// max. heating capacity: 120/90°C, 0°C room temp.)
CONTROLLERS FOR HC3P SERIES 400V AC
Fan speed controller HC3P 1,5A |  | FSHC3P-1,5A-1991 | 349 | 5902860112266
Fan speed controller HC3P 2,0A |  | FSHC3P-2A-1992 | 359 | 5902860112273
Fan speed controller HC3P 4,0A |  | FSHC3P-4A-1993 | 429 | 5902860112280
Fan speed controller HC3P 5,0A |  | FSHC3P-5A-1994 | 489 | 5902860112297
Fan speed controller HC3P 7,0A |  | FSHC3P-7A-1995 | 579 | 5902860112303
MOUNTING ELEMENTS FOR HC3P SERIES 400V AC
Rotating mounting bracket HC20-45 |  | RHHC2045-1518 | 20 | 5905669815093
Rotating mounting bracket HC50-80, Farmer |  | RHHC5080-2015 | 25 | 5902860112525
Z-type suspension bracket |  | SB-2029 | 2 | 5902860112914 | NEW !
OPTIONAL EQUIPMENT FOR HC3P SERIES 400V AC
Flexible hoses HC 3/4" (set 2 pcs.) |  | FHHC-1525 | 45 | 5905669815161
Drip tray HC20-45 |  | DTFWHHC2045 | 69 | 5905669815246
Drip tray HC50-80 |  | DTFWHHC5080 | 79 | 5902860112532
MIXING CHAMBERS MC SERIES
MC for HC20-45* |  | MCHC2045-1782 | 549 | 5902860110569
MC for HC50-80* |  | MCHC5080-2016 | 549 | 5902860112549
* Filter EU3 included in each set
CONTROLLERS FOR MC SERIES
Control set KHC* |  | AMC-1798 | 849 | 5902860111283
Setter HMI MC |  | MC-HMI-1999 | 155 | 5902860112464
Differential pressure switch DFS |  | DFS-1799 | 49 | 5902860111290
Control valve with 3-point actuator CV |  | CV-1800 | ask for price | 5902860111306
Ethernet card EC |  | EC-1801 | 89 | 5902860111313
* the control set includes: control cabinet, damper actuator 0-10 V with return spring, 4 x PT-1000 temperature sensor, three-way valve with actuator, antifreeze thermostat with capillary
MOUNTING ELEMENTS FOR MC SERIES
Mounting bracket MB |  | MB-1803 | 89 | 5902860111337
Z-type suspension bracket |  | SB-2029 | 2 | 5902860112914 | NEW !
OPTIONAL EQUIPMENT FOR MC SERIES
Wall intake WI |  | WI-1802 | 95 | 5902860111320
Roof intake RI* |  | RI-2007 | ask for price | 5902860112433
Duct MC 0,5 m** |  | TCMC-2009 | 60 | 5902860112457
Filter EU3 FEU |  | FEU-1804 | 40 | 5902860111344
* complete set equipped with roof curb and roof base; available type A or type B for flat and sloped roofs
** custom length of the duct available on request
AIR WATER HEATERS HC SERIES IN EPP CASING 230V EC | Maximum heating capacity
HC20-EC 24,7kW*, ** | 32,7kW*** | WHHC20-EC-1985 | 379 | 5902860112204
HC30-EC 30,4kW*, ** | 40,3kW*** | WHHC30-EC-1986 | 399 | 5902860112211
HC35-EC 36,0kW*, ** | 47,6kW*** | WHHC35-EC-1987 | 419 | 5902860112228
HC45-EC 50,5kW*, ** | 66,7kW*** | WHHC45-EC-1988 | 459 | 5902860112235
HC50-EC 48,6kW*, ** | 64,1kW*** | WHHC50-EC-1989 | 499 | 5902860112242
HC70-EC 67,2kW*, ** | 88,9kW*** | WHHC70-EC-1990 | 549 | 5902860112259
* heating capacity: water temp. 90/70°C, 0°C room temp., 100% air expense ** possibility to order diffuser 360 or confusor to the above models" | *** max. heating capacity 120/90°C, 0°C room temp., 100% air expense
CONTROLLERS FOR HC SERIES 230V EC
Potentiometer EC |  | PEC-1996 | 49 | 5902860112310
Programmable controller HMI EC |  | HMIEC-1997 | 79 | 5902860112327
Manual room thermostat HC |  | RTHC-1523 | 16 | 5905669815574
Relay module RM-16A |  | RM16A-1786 | 30 | 5903669087311
Two-way valve with actuator HC 3/4" |  | VAHC-1524 | 50 | 5905669815154
Three-way valve with actuator HC 3/4" |  | VAHC3-1998 | 85 | 5902860112334
Regulating and balancing valve HC 3/4 " |  | VARB-2030 | ask for price | 5902860112921 | NEW !
MOUNTING ELEMENTS FOR HC 230V EC
Rotating mounting bracket HC20-45 |  | RHHC2045-1518 | 20 | 5905669815093
Rotating mounting bracket HC50-80, Farmer |  | RHHC5080-2015 | 25 | 5902860112525
Z-type suspension bracket |  | SB-2029 | 2 | 5902860112914 | NEW !
OPTIONAL EQUIPEMNT FOR HC SERIES 230V EC
Flexible hoses HC 3/4" (set 2 pcs.) |  | FHHC-1525 | 45 | 5905669815161
Drip tray HC20-45 |  | DTFWHHC2045 | 69 | 5905669815246
Drip tray HC50-80 |  | DTFWHHC5080 | 79 | 5902860112532
AIR WATER HEATERS IN STEEL CASING, S SERIES 230V AC
S1-3S 14,7kW* | 1,57kW - 19,5kW** | WHS1-3S-1789 | 339 | 5902860110644
S2-3S 23,4kW* | 2,10kW - 30,8kW** | WHS2-3S-1790 | 459 | 5902860110651
S3-3S 36,9kW* | 2,92kW - 48,8kW** | WHS3-3S-1791 | 529 | 5902860110668
S4-3S 50,1kW* | 4,17kW - 66,2kW** | WHS4-3S-1787 | 599 | 5902860110620
* heating capacity 90/70°C water temp., 0°C room temp., 3rd stage | ** min. heating capacity:40/30°C, 20°C water temp., 1st stage// max. heating capacity: 120/90°C water temp. , 0°C room temp., 3rd stage
CONTROLLERS FOR S SERIES 230V AC
3-step controller with room thermostat HC3S |  | RTHC3S-1779 | 25 | 5902860110538
Programmable controller HMI |  | PCHMI-1797 | 79 | 5902860111276
Fan speed controller HC 1,2A |  | FSHC-1520 | 64 | 5905669815116
Fan speed controller HC 3,0A |  | FS3HC-1521 | 85 | 5905669815123
Fan speed controller HC 5,0A |  | FS5HC-1607 | 169 | 5905669815499
Fan speed controller HC 7,0A |  | FS7HC-1608 | 189 | 5905669815505
Fan speed controller HC 14,0A |  | FS14HC-1610 | 349 | 5905669815529
Manual room thermostat HC |  | RTHC-1523 | 16 | 5905669815574
Two-way valve with actuator HC 3/4" |  | VAHC-1524 | 50 | 5905669815154
Three-way valve with actuator HC 3/4" |  | VAHC3-1998 | 85 | 5902860112334
Regulating and balancing valve HC 3/4 " |  | VARB-2030 | ask for price | 5902860112921 | NEW !
Relay module RM-16A |  | RM16A-1786 | 30 | 5903669087311
MOUNTING ELEMENTS S SERIES 230V AC
Rotating mounting bracket S1 |  | RHS1-1755 | 25 | 5902860110293
Rotating mounting bracket S2, S3 |  | RHS2S3-1756 | 27 | 5902860110309
Rotating mounting bracket S4 |  | RHS4-1757 | 30 | 5902860110316
Fixed holders for S series |  | HS1234F-1754 | 17 | 5902860110286
Z-type suspension bracket |  | SB-2029 | 2 | 5902860112914 | NEW !
OPTIONAL EQUIPEMNT FOR S SERIES 230V AC
Flexible hoses HC 3/4" (set 2 pcs.) |  | FHHC-1525 | 45 | 5905669815161
DESTRATIFICATION FANS TORNADO 230V AC SERIES | Airflow
Destratification fan TORNADO XS1 | 2200 m³/h | DT-XS1-1965 | 189 | 5902860112006
Destratification fan TORNADO XS2 | 3600 m³/h | DT-XS2-1966 | 209 | 5902860112013
Destratification fan TORNADO XS3 | 4500 m³/h | DT-XS3-1967 | 259 | 5902860112020
Destratification fan TORNADO XS4 | 5400 m³/h | DT-XS4-1968 | 339 | 5902860112037
Destratification fan TORNADO XS5 | 6750 m³/h | DT-XS5-1969 | 419 | 5902860112044
Destratification fan TORNADO XS6 | 10200 m³/h | DT-XS6-1970 | 519 | 5902860112051
CONTROLLERS FOR TORNADO 230V AC SERIES
Programmable controller HMI SINGLE |  | HMI-SIN-2021 | 89 | 5902860112600
Fan speed controller HC 1,2A |  | FSHC-1520 | 64 | 5905669815116
Fan speed controller HC 3,0A |  | FS3HC-1521 | 85 | 5905669815123
Fan speed controller HC 5,0A |  | FS5HC-1607 | 169 | 5905669815499
Fan speed controller HC 7,0A |  | FS7HC-1608 | 189 | 5905669815505
Fan speed controller HC 14,0A |  | FS14HC-1610 | 349 | 5905669815529
Manual room thermostat HC |  | RTHC-1523 | 16 | 5905669815574
Relay module RM-16A |  | RM16A-1786 | 30 | 5903669087311
DESTRATTIFICATION FAN HC-3S 230 AC | Airflow
Destratification fan HC-3S | 4600 m³/h | DHC-3S-1766 | 369 | 5902860110408
CONTROLLERS FOR DESTRATIFICATION FAN HC-S3 230V AC
3-step controller with room thermostat HC3S |  | RTHC3S-1779 | 25 | 5902860110538
Programmable controller HMI |  | PCHMI-1797 | 79 | 5902860111276
Relay module RM-16A |  | RM16A-1786 | 30 | 5903669087311
MOUNTING ELEMENTS FOR DESTRATIFICATION FAN HC-S3 230V AC
Rotating mounting bracket for destratification fan HC-3S |  | RHF-1611 | 25 | 5905669815369
Z-type suspension bracket |  | SB-2029 | 2 | 5902860112914 | NEW !
ELECTRIC HEATED AIR CURTAINS AERIS E-1P 230V SERIES
AERIS 100E-1P* |  | AC100E1P | 349 | 5905669815307
AERIS 150E-1P* |  | AC150E1P | 429 | 5905669815321
AERIS 200E-1P* |  | AC200E1P | 699 | 5902860110194
* mounting panel, remote control and door switch included in each set
ELECTRIC HEATED AIR CURTAINS AERIS EN-1P 230V SERIES
AERIS 100EN-1P* |  | AC100EN1P | 399 | 5902860112587
* mounting panel, remote control and door switch included in each set
ELECTRIC HEATED AIR CURTAINS AERIS EN-3P 400V SERIES
AERIS 90EN-3P* |  | AC90EN3P | 339 | 5902860110699
AERIS 100EN-3P** |  | AC100EN3P | 399 | 5902860112518
AERIS 120EN-3P* |  | AC120EN3P | 419 | 5902860110705
AERIS 150EN-3P*/** |  | AC150EN3P | 549 | 5902860110712
AERIS 200EN-3P** |  | AC200EN3P | 849 | 5902860112068
* mounting panel and door switch included in each set ** mounting panel, remote control and door switch included in each set
CONTROLLERS FOR AERIS EN-3P 400V SERIES
3-step controller with room thermostat HC3S* |  | RTHC3S-1779 | 25 | 5902860110538
Controller with thermostat HMI CURTAIN* |  | HMI-2003 | 79 | 5902860112389
* suitable for 90EN-3P, 120EN-3P and 150EN-3P
COLD AIR CURTAINS AERIS C-1P 230V SERIES
AERIS 100C-1P* |  | AC100C1P | 329 | 5902860111979
AERIS 150C-1P* |  | AC150C1P | 399 | 5902860111986
AERIS 200C-1P* |  | AC200C1P | 549 | 5902860111993
* mounting panel, remote control and door switch included in each set
WATER HEATED AIR CURTAINS AERIS WN-1P 230V SERIES
AERIS 100WN-1P* |  | AC100WN1P | 349 | 5902860110200
AERIS 150WN-1P* |  | AC150WN1P | 459 | 5902860110217
AERIS 200WN-1P* |  | AC200WN1P | 699 | 5902860110224
* mounting panel and door switch included in each set
CONTROLLERS FOR AERIS WN-1P 230V SERIES
3-step controller with room thermostat HC3S |  | RTHC3S-1779 | 25 | 5902860110538
Controller with thermostat HMI CURTAIN |  | HMI-2003 | 79 | 5902860112389
Two-way valve with actuator HC 3/4" |  | VAHC-1524 | 50 | 5905669815154
Three-way valve with actuator HC 3/4" |  | VAHC3-1998 | 85 | 5902860112334
Regulating and balancing valve HC 3/4 " |  | VARB-2030 | ask for price | 5902860112921 | NEW !
OPTIONAL EQUIPEMNT FOR AERIS WN-1P SERIES 230V
Flexible hoses HC 3/4" (set 2 pcs.) |  | FHHC-1525 | 45 | 5905669815161
INDUSTRIAL AIR CURTAINS HUMMER 230V SERIES
HUMMER 150C-1P 230V* |  | ACH150C-1999 | 799 | 5902860112341
HUMMER 200C-1P 230V* |  | ACH200C-2000 | 949 | 5902860112358
HUMMER 150WN-1P 230V* |  | ACH150WN-2001 | 1059 | 5902860112365
HUMMER 200WN-1P 230V* |  | ACH200WN-2002 | 1399 | 5902860112372
* mounting elements in each set
CONTROLERS FOR HUMMER 230V SERIES
Controller with thermostat HMI CURTAIN |  | HMI-2003 | 79 | 5902860112389
Door switch HUMMER |  | DSH-2004 | 45 | 5902860112396
Two-way valve with actuator HC 3/4" |  | VAHC-1524 | 50 | 5905669815154
Three-way valve with actuator HC 3/4" |  | VAHC3-1998 | 85 | 5902860112334
Regulating and balancing valve HC 3/4 " |  | VARB-2030 | ask for price | 5902860112921 | NEW !
OPTIONAL EQUIPEMNT FOR HUMMER SERIES 230V AC
Flexible hoses HC 3/4" (set 2 pcs.) |  | FHHC-1525 | 45 | 5905669815161
HEAT RECOVERY UNITS INSPIRO BASIC SERIES | Airflow
INSPIRO BASIC 200* | 200 m³/h | INSPIRO-BASIC200-2022 | 879 | 5902860112617
INSPIRO BASIC 300* | 300 m³/h | INSPIRO-BASIC300-2023 | 929 | 5902860112624
INSPIRO BASIC 400* | 400 m³/h | INSPIRO-BASIC400-2024 | 1099 | 5902860112631
INSPIRO BASIC 600* | 600 m³/h | INSPIRO-BASIC600-2025 | 1299 | 5902860112648
INSPIRO BASIC 800* | 800 m³/h | INSPIRO-BASIC800-2026 | 1899 | 5902860112655
INSPIRO BASIC 1000* | 1000 m³/h | INSPIRO-BASIC1000-2028 | 2299 | 5902860112884 | NEW !
INSPIRO BASIC 1300* | 1300 m³/h | INSPIRO-BASIC1300-2027 | 2499 | 5902860112891 | NEW !
* in set the control panel BASIC
ACCESSORIES FOR INSPIRO BASIC SERIES
Filter EU3 INSPIRO |  | FEU3-2005 | ask for price | 5902860112402
HEAT RECOVERY UNITS INSPIRO SERIES | Airflow
INSPIRO 150* | 150 m³/h | INSPIRO150-1972 | 1359 | 5902860112075
INSPIRO 250* | 250 m³/h | INSPIRO250-1973 | 1399 | 5902860112082
INSPIRO 350* | 350 m³/h | INSPIRO350-1974 | 1729 | 5902860112099
INSPIRO 500* | 500 m³/h | INSPIRO500-1975 | 2149 | 5902860112105
INSPIRO 650* | 650 m³/h | INSPIRO650-1976 | 2499 | 5902860112112
INSPIRO 800* | 800 m³/h | INSPIRO800-1977 | 3049 | 5902860112129
INSPIRO 1000* | 1000 m³/h | INSPIRO1000-2026 | 3699 | 5902860112860 | NEW !
INSPIRO 1300* | 1300 m³/h | INSPIRO1300-2027 | 3999 | 5902860112877 | NEW !
* in set the intelligent control panel STANDARD
CONTROLLERS FOR INSPIRO SERIES
Intelligent control panel PREMIUM |  | INSPIRO-CON-1978 | 139 | 5902860112136
Sensor CO2 |  | INSPIRO-CO2-1979 | 259 | 5902860112143
Humidity sensor |  | INSPIRO-HUM-1980 | 95 | 5902860112150
WIFI Module INSPIRO |  | MF-2043 | 115 | 5902860113058 | NEW !
ACCESSORIES FOR INSPIRO SERIES
2-step electric secondary heater INSPIRO 150/250 |  | ESC-INSPIRO150/250-2031 | 239 | 5902860112938 | NEW !
2-step electric secondary heater INSPIRO 350 |  | ESC-INSPIRO350-2032 | 259 | 5902860112945 | NEW !
2-step electric secondary heater INSPIRO 500 |  | ESC-INSPIRO500-2033 | 299 | 5902860112952 | NEW !
2-step electric secondary heater INSPIRO 650 |  | ESC-INSPIRO650-2034 | 339 | 5902860112969 | NEW !
2-step electric secondary heater INSPIRO 800 |  | ESC-INSPIRO800-2035 | 399 | 5902860112976 | NEW !
2-step electric secondary heater INSPIRO 1000/1300 |  | ESC-INSPIRO1000/1300-2036 | 479 | 5902860112983 | NEW !
Filter EU3 INSPIRO |  | FEU3-2005 | ask for price | 5902860112402
Filter EU9 INSPIRO |  | FEU9-2006 | ask for price | 5902860112419
DOMESTIC AXIAL FANS WITH THROTTLE VELO SERIES | Airflow
VELO 100S* | 95 m³/h | VELO-100S-1901 | 15 | 5902860111368
VELO 100H* | 95 m³/h | VELO-100H-1905 | 25 | 5902860111443
VELO 100MS* | 95 m³/h | VELO-100MS-1907 | 25 | 5902860111429
VELO 150S* | 240 m³/h | VELO-150S-1902 | 17 | 5902860111375
VELO 150T* | 240 m³/h | VELO-150T-1904 | 22 | 5902860111399
VELO 150H* | 240 m³/h | VELO-150H-1906 | 24 | 5902860111450
VELO 150MS* | 240 m³/h | VELO-150MS-1908 | 24 | 5902860111436
VELO SILVER 100S* | 95 m³/h | VELO-S-100S-1911 | 17 | 5902860111467
VELO SILVER 100T* | 95 m³/h | VELO-S-100T-1913 | 21 | 5902860111481
VELO SILVER 100H* | 95 m³/h | VELO-S-100H-1919 | 24 | 5902860111542
VELO SILVER 100MS* | 95 m³/h | VELO-S-100MS-1917 | 24 | 5902860111528
VELO SILVER 150S* | 240 m³/h | VELO-S-150S-1912 | 18 | 5902860111474
VELO SILVER 150T* | 240 m³/h | VELO-S-150T-1914 | 24 | 5902860111498
VELO SILVER 150H* | 240 m³/h | VELO-S-150H-1920 | 27 | 5902860111559
VELO SILVER 150MS* | 240 m³/h | VELO-S-150MS-1918 | 27 | 5902860111535
* S - standard; T - timer ; H - humidity sensor; MS - motion sensor
DOMESTIC AXIAL FANS WITH THROTTLE CODE SERIES | Airflow
CODE 100S* | 130 m³/h | CODE-100S-1921 | 12 | 5902860111566
CODE 100PC* | 130 m³/h | CODE-100PC-1930 | 15 | 5902860111658
CODE 100T* | 130 m³/h | CODE-100T-1924 | 17 | 5902860111597
CODE 150S* | 320 m³/h | CODE-150S-1923 | 16 | 5902860111580
CODE 150PC* | 320 m³/h | CODE-150PC-1932 | 17 | 5902860111672
CODE 150T* | 320 m³/h | CODE-150T-1926 | 20 | 5902860111610
* S - standard; T - timer PC - chain
DOMESTIC DUCT FANS REGO SERIES | Airflow
REGO 150 | 320 m³/h | REGO150-1935 | 15 | 5902860111702
ROOF FANS STORM SERIES | Airflow
STORM 190 AC | 520 m³/h | STORM190AC-2017 | 199 | 5902860112556
STORM 250 AC | 1370 m³/h | STORM250AC-1981 | 239 | 5902860112167
STORM 315 AC | 1900 m³/h | STORM315AC-1982 | 319 | 5902860112174
STORM 400 AC | 3100 m³/h | STORM400AC-2018 | 359 | 5902860112563
STORM 225 EC | 950 m³/h | STORM225EC-1983 | 299 | 5902860112181
STORM 315 EC | 2250 m³/h | STORM315EC-1984 | 379 | 5902860112198
STORM 355 EC | 3600 m³/h | STORM355EC-2019 | 499 | 5902860112570
CONTROLLERS FOR STORM SERIES AC 230V
Programmable controller HMI SINGLE |  | HMI-SIN-2021 | 89 | 5902860112600
Fan speed controller HC 1,2A |  | FSHC-1520 | 64 | 5905669815116
Fan speed controller HC 3,0A |  | FS3HC-1521 | 85 | 5905669815123
Fan speed controller HC 5,0A |  | FS5HC-1607 | 169 | 5905669815499
Fan speed controller HC 7,0A |  | FS7HC-1608 | 189 | 5905669815505
Fan speed controller HC 14,0A |  | FS14HC-1610 | 349 | 5905669815529
CONTROLLERS FOR STORM SERIES EC 230V
Potentiometer |  | PEC-1996 | 49 | 5902860112310
Programmable controller HMI EC |  | HMIEC-1997 | 79 | 5902860112327
OPTIONAL EQUIPMENT FOR STORM SERIES
Roof base |  | RBB-2000 | 119 | 5902860112471
Roof base insulated 50mm |  | RBB50-2027 | 169 | 5902860112262
Roof base insulated 50 mm with damping mantle |  | RBB50DB-2028 | 279 | 5902860112679
Upper / lower adapter plate |  | AP-2003 | 45 | 5902860112501
AXIAL BLOWING FANS FR SERIES WITH PROTECTIVE GRID | Airflow
FR-250-BG 230V | 1450 m³/h | IAFR250BG-1701 | 69 | 5905669815703
FR-300-BG 230V | 1750 m³/h | IAFR300BG-1702 | 79 | 5905669815710
FR-350-BG 230V | 2350 m³/h | IAFR350BG-1703 | 105 | 5905669815727
FR-400-BG 230V | 3800 m³/h | IAFR400BG-1704 | 119 | 5905669815734
FR-450-BG 230V | 5400 m³/h | IAFR450BG-1705 | 145 | 5905669815741
FR-500-BG 230V | 6050 m³/h | IAFR500BG-1706 | 175 | 5905669815758
FR-550-BG 230V | 7500 m³/h | IAFR550BG-1707 | 199 | 5905669815765
FR-630-BG 230V | 11400 m³/h | IAFR630BG-1708 | 289 | 5905669815772
FR-710-BG 400V | Δ 15000 m³/h Y 13000 m³/h | IAFR710BG-1709 | 639 | 5905669815789
FR-800-BG 400V | Δ 20000 m³/h Y 17500 m³/h | IAFR800BG-1710 | 699 | 5905669815796
AXIAL SUCKING FANS FR SERIES WITH PROTECTIVE GRID | Airflow
FR-250-SG 230V | 1450 m³/h | IAFR250SG-1711 | 69 | 5905669815802
FR-300-SG 230V | 1850 m³/h | IAFR300SG-1712 | 79 | 5905669815819
FR-350-SG 230V | 2450 m³/h | IAFR350SG-1713 | 105 | 5905669815826
FR-400-SG 230V | 3950 m³/h | IAFR400SG-1714 | 119 | 5905669815833
FR-450-SG 230V | 5000 m³/h | IAFR450SG-1715 | 145 | 5905669815840
FR-500-SG 230V | 6050 m³/h | IAFR500SG-1716 | 175 | 5905669815857
FR-550-SG 230V | 7500 m³/h | IAFR550SG-1717 | 199 | 5905669815864
FR-630-SG 230V | 11400 m³/h | IAFR630SG-1718 | 289 | 5905669815871
FR-710-SG 400V | Δ 15000 m³/h Y 13000 m³/h | IAFR710SG-1719 | 639 | 5905669815888
FR-800-SG 400V | Δ 20000 m³/h Y 17500 m³/h | IAFR800SG-1720 | 699 | 5905669815895
AXIAL FANS FR SERIES IN SQUARE FRAME | Airflow
FR-200-BS 230V | 780 m³/h | IAFR200BS-1721 | 89 | 5905669815901
FR-250-BS 230V | 1450 m³/h | IAFR250BS-1722 | 105 | 5905669815918
FR-300-BS 230V | 1550 m³/h | IAFR300BS-1723 | 125 | 5905669815925
FR-350-BS 230V | 2450 m³/h | IAFR350BS-1724 | 145 | 5905669815932
FR-400-BS 230V | 3950 m³/h | IAFR400BS-1725 | 169 | 5905669815949
FR-450-BS 230V | 5000 m³/h | IAFR450BS-1726 | 199 | 5905669815956
FR-500-BS 230V | 6050 m³/h | IAFR500BS-1727 | 279 | 5905669815963
FR-550-BS 230V | 7500 m³/h | IAFR550BS-1728 | 329 | 5905669815970
FR-630-BS 230V | 11400 m³/h | IAFR630BS-1729 | 429 | 5905669815987
FR-710-BS 400V | Δ 15000 m³/h Y 13000 m³/h | IAFR710BS-1730 | 739 | 5905669815994
FR-800-BS 400V | Δ 20000 m³/h Y 17500 m³/h | IAFR800BS-1731 | 799 | 5902860110002
AXIAL DUCT FANS FR SERIES 230V | Airflow
FR-200-BC | 780 m³/h | IAFR200BC-1732 | 99 | 5902860110019
FR-250-BC | 1220 m³/h | IAFR250BC-1733 | 119 | 5902860110026
FR-300-BC | 1550 m³/h | IAFR300BC-1734 | 139 | 5902860110033
FR-350-BC | 2450 m³/h | IAFR350BC-1735 | 169 | 5902860110040
FR-400-BC | 3950 m³/h | IAFR400BC-1736 | 209 | 5902860110057
FR-450-BC | 5000 m³/h | IAFR450BC-1737 | 229 | 5902860110064
FR-500-BC | 6050 m³/h | IAFR500BC-1738 | 309 | 5902860110071
FR-550-BC | 7500 m³/h | IAFR550BC-1739 | 379 | 5902860110088
FR-630-BC | 11400 m³/h | IAFR630BC-1740 | 479 | 5902860110095
DUCT FANS FR SERIES 230V | Airflow
FR-100-DF | 230 m³/h | IDFR100DF-1741 | 83 | 5902860110101
FR-125-DF | 350 m³/h | IDFR125DF-1742 | 87 | 5902860110118
FR-150-DF | 610 m³/h | IDFR150DF-1743 | 99 | 5902860110125
FR-160-DF | 770 m³/h | IDFR160DF-1744 | 105 | 5902860110132
FR-200-DF | 845 m³/h | IDFR200DF-1745 | 119 | 5902860110149
FR-250-DF | 950 m³/h | IDFR250DF-1746 | 129 | 5902860110156
FR-315-DF | 1520 m³/h | IDFR315DF-1747 | 169 | 5902860110163
CONTROLLERS FOR FR SERIES 230V
Programmable controller HMI SINGLE |  | HMI-SIN-2021 | 89 | 5902860112600
Fan speed controller HC 1,2A |  | FSHC-1520 | 64 | 5905669815116
Fan speed controller HC 3,0A |  | FS3HC-1521 | 85 | 5905669815123
Fan speed controller HC 5,0A |  | FS5HC-1607 | 169 | 5905669815499
Fan speed controller HC 7,0A |  | FS7HC-1608 | 189 | 5905669815505
Fan speed controller HC 14,0A |  | FS14HC-1610 | 349 | 5905669815529
CONTROLLERS FOR FR SERIES 400V
Fan speed controller HC3P 1,5A |  | FSHC3P-1,5A-1991 | 349 | 5902860112266
Fan speed controller HC3P 2,0A |  | FSHC3P-2A-1992 | 359 | 5902860112273
Fan speed controller HC3P 4,0A |  | FSHC3P-4A-1993 | 429 | 5902860112280
Fan speed controller HC3P 5,0A |  | FSHC3P-5A-1994 | 489 | 5902860112297
Fan speed controller HC3P 7,0A |  | FSHC3P-7A-1995 | 579 | 5902860112303